Barcellos-Hoff lab, 04/15/2020

Immunofluorescence staining of pSMAD

Solutions & antibodies:

- PBS: Prepare with 10x PBS (Fisher BioReagents) and MilliQ water

- PBS-T: Add 500 µl of Tween-20 (Sigma) to 500 ml of PBS

- Blocking buffer: 0.5 % Casein in PBS

  - Add 1g of Casein to 200 ml of PBS

  - Stir for 1h (at room temperature)

  - Filter solution through filter paper (WhatmanTM 185 Cat No 1001-185)

    - Do not worry if not completely dissolved!

    - Takes a long time!

    - Keep final solution at 4ºC, good for at least 2 weeks

Antibody guideline:

pSMAD: 	1:50 primary antibody (Cell Signaling #3108L, Lot: 8)

DAPI:		1:200 ( Thermo Fisher #D1306, Lot: 2031179, 2mg/ml)

Alexa 555: 	1:200 secondary antibody (Thermo Fisher #A32794, Lot: UI284002)

Important: Never let the tissue dry!

Procedure for FFPE embedded and sectioned samples:

- Heat slides for 30 min at 57 ºC (on heating plate, to fix tissue)

- Prepare chamber with Xylene (Attention: Xylene melts plastic! Be carfeul with gloves!)

- After fixation transfer slides immediately into Xylene chamber and start deparaffinization process

  - 10 min Xylene 1 (dirtier Xylene)

  - 10 min Xylene 2 (cleaner Xylene)

  - 10 min EtOH 100 %

  - 10 min EtOH 90 %

  - 10 min EtOH 70 %

  - 5 min H2O

- Antigen retrieval:

  - Prepare retrieval buffer while deparaffinization

  - Prepare 1 l glass beaker with 850 ml of MilliQ water

  - Remove 8.5 ml

  - Add 8.5 ml of 100X saturated citric acid (Vector: H-3300)

  - Transfer samples after 3. f. into beaker

  - Put in the microwave and heat at power 8 for 9 min

  - Open door shortly and heat at power 3 for 10 min

  - Let samples cool in the beaker for 20 min

  - Put beaker in sink and add continuous tap water for 10 min

  - Move to step 6

- Wash slides for 5 min in PBS

- Dry slides (not tissue), and apply circle around tissue with wax marker

- Add 100 µl of blocking buffer to tissue and incubate for 1 h in wet chamber

- Add 50 – 100 µl of primary antibody diluted in blocking buffer and store over night at 4ºC in wet chamber

- Wash 3 times with PBS-T on the next day\

- Add 50 – 100 µl of secondary antibody diluted in blocking buffer and store for 1 h in wet chamber (This solution must include DAPI 1:200!)

- Wash 2 times with PBS

- Dry slides (not tissue), and apply Vecta shield to fix staining

- Store at -30 ºC